Chapter 8 Transformers and Mutual Inductance

8.1 Ideal Transformers

- Transformers consist of magnetically coupled coils the respond only when driven by time-varying excitations.

- Ideal transformers vs. real transformers.

Figure 8.1.

- N1: primary winding, N2: secondary winding.

- Reference direction: both currents into the upper terminals.

- Dot convention: polarity is the same at both windings.

- Coils have zero resistance and are short circuits at dc steady state.

- Time varying excitation activates magnetic coupling and induces voltage at the other winding.

- Turns ratio: N≡N2N1.

- v2(t)=Nv1(t), i2(t)=−i1(t)N.

- With N=1, a transformer becomes an isolation transformer that decouples the dc potential levels without affecting the time-varying quantities.

- An ideal transformer does not dissipate power (p=v1i1+v2i2=0).

- Controlled source models (VCVS and CCCS)

Figure 8.2.

- Transformers with three or more windings:

Figure 8.3.

# Example 8.1: Analysis of a Transformer Circuit

Figure 8.4.

- Referred networks:

Figure 8.6.

- Referred load network and referred source network.

- Referred load network: R and L divided by N2 and C multiplied by N2.

Figure 8.7.

- Referred source network: voltage multiplied by N, impedance multiplied by N2 and current divided by N.

# Example 8.2 Power Transmission with Transformers

Figure 8.8.

# Example 8.3 Transformer-Coupled Oscillator

Figure 8.9.

- Impedance matching (refer to Figure 8.6b).

# Example 8.4 Impedance Matching with a Transformer

Figure 8.10.

8.2 Magnetic Coupling and Mutual Inductance

- Magnetic circuits: N turns, magnetic flux φ and current i (with right-hand rule).

Figure 8.11.

- Magnetomotive force (mmf): F=Ni.

- Reluctance: R=l/r0A.

- F=R

Figure 8.12.

Figure 8.13.

- Self-inductance and mutual inductance.

Figure 8.14.

- Currents entering the dotted ends of both windings produce flux in the same direction.

- Leakage flux, self-inductance, mutual inductance and coupling coefficient.

Figure 8.15.

Example 8.5: Series Equivalent Inductance

Figure 8.16.

- Stored energy:

Figure 8.18.

- Unity coupling:

8.3 Circuits with Mutual Inductance

- Mutual inductance represented by controlled sources:

Figure 8.19.

- Frequency domain model of self- and mutual inductances:

Figure 8.20.

Figure 8.21.

# Example 8.6: Comparison of a real and ideal transformer

- Equivalent tee (T) networks:

Figure 8.23.

- Equivalent pi () networks:

Figure 8.24.

# Example 8.7: Transformer circuit analysis with a tee network

Figure 8.25.

Example 8.8: Step-Up Autotransformer

Figure 8.26.

- Equivalent networks with an ideal transformer to represent mutual inductance.

Figure 8.27.

Example 8.9: Design of a Tuned Amplifier

Figure 8.28.